Marijuana Certified Examiner Course Equipment

Below is a list of equipment that meets the specifications for marijuana school equipment.  These products are not endorsed by the GBI-DOFS nor have most of these items been used by the GBI-DOFS.  This list is only a guideline and any similar product is acceptable.  Prices listed are approximate.   (effective:  3/1/09)

Microscopes:  Stereomicroscope, binocular eyepieces, (top) incident light, 10-40x magnification

- Fisher 3000 Series    ($750)

- Fisher Standard 2000 Series    ($290)

- Edmund Scientific High Power Stereomicroscope   ($330)

- Edmund Scientific 20x/40x     ($350)

- Edmund Scientific Wide Field   20x/60x     ($500)

- Edmund Scientific 10x/40x   ($675)

- Home Science Tools Stereomicroscope 20x/40x ($199)

Balances:

Small Capacity:  Electronic top-loading balances, readability at least 0.1 gram, capacity at least 300.0 grams

- AND Model EK3000i ($525)

- Denver Instrument Peak Series  ($200 - $500)

- Denver XP Series ($500)

- Mettler Toledo BD Series, Entry Level Series, and Portable Series  ($650 - $1600)

- Ohaus Adventurer  ($800 - $1000)

- Ohaus Scout Pro  ($200 - $450)

Large Capacity:  Electronic top-loading, readability at least 0.2 lb, capacity at least 1.0 lb

- Ohaus ES Bench Scales ($365 - $510)

- AND FG 30 Bench Scale ($630)

- Ohaus Champ General Purpose Bench Scale  ($510 - $1200)

- Denver Instrument XI-Series Industrial Scale ($850 - $925)

- Ohaus Champ II Bench Scales ($645 - $925)

Balance Certification Guidelines:  Balance certification by an independent entity must be obtained prior to class.*

The balance certificate obtained must include the following information:

Report Information:

- Model number

- Serial number

- Date

- Agency

- Calibration expiration date

- Company name

- Technician name

- Contact information

Calibration Information:

1)  Class of weights used during calibration: ASTM Class 3 (or equivalent) or better for small capacity balances.  ASTM Class 6 or NIST 105-1 1990 class F or better for large capacity balances.)

2)  Value of weight used (ex—200.0g)

3)  Weight traceability information (NIST, National Institute of Standards and Technology)

4)  Balance readings “before” service/calibration and balance readings “after” service/calibration

* In order to operate the balance in accordance with DOFS protocol, the balance certification will be renewed annually.

Vendors:  Use certification guidelines in selection process.

- Rite-Weight, Inc.; 770-476-8500

- Scale Systems,  478-745-3704,  800-846-9824

- Wiggins Scale Company; 404-350-0166; www.wigginsscale.com

- Balance Tech, Inc.; 678-467-5636

- Department of Agriculture (contact: Jason Hitchcock) 404-656-3719

- Check yellow pages for vendor near you.

Calibration-Check Weights:  Must obtain these prior to working any cases.  They are to be used before and after sampling cases.  For small capacity balances, use a 1 gram weight and the largest weight the balance can weigh.  ASTM Class 4 weights are recommended.  For large capacity balances, use a 1.00lb weight and the largest weight the balance can weigh or the largest value for which the balance will be used.  NIST 105-1 1990 Class F weights are recommended.  Search vendors listed below or consult with Calibration Vendor.   Verify the accuracy of the check weights annually—ask your vendor.

Equipment Vendors:  (for PPE, microscopes, balances, weigh boats, weigh paper, etc.)

Rite-Weight, Inc (for balances and weights):  770-476-8500

Edmund Scientific; www.scientificsonline.com   1-800-728-6999

Fisher Scientific; www.fishersci.com   1-800-766-7000

Cole Parmer; www.coleparmer.com   1-800-323-4340

VWR Scientific Products; www.vwrsp.com   1-800-932-5000

Scales Online; www.scalesonline.com   866-856-6100

Home Science Tools; www.homesciencetools.com  1-800-860-6272

Test Kits:

Effective 07/2008, all students must bring 30 (3 boxes) of Duquenois-Levine and 30 (3 boxes) of Fast Blue B (KN Reagent) test kits.

Test kits must consist of the POUCH type DUQUENOIS LEVINE TEST and the POUCH type FAST BLUE B TEST or KN REAGENT.

Order/Part numbers are as follows:

ODV, Inc. (NarcoPouch, NarcoTest); www.odvinc.com  1-800-852-0300

- Duquenois Levine                     NacroPouch #908        10/box

- Fast Blue B (KN Reagent)        NarcoPouch #909        10/box

Sirchie; www.sirchie.com  1-800-356-7311

- Duquenois Levine                     NARK2005                 10/box

- Fast Blue B (KN Reagent)        NARK20020               10/box

Dana Safety Supply; 1-800-822-8722 (Carries Sirchie products)

- Duquenois Levine                     NARK2005                 10/box

- Fast Blue B (KN Reagent)        NARK20020               10/box

GT Distributors; 1-800-241-8950 (carries all brands)

- ODV

Duquenois Levine                     NacroPouch #908        10/box

Fast Blue B (KN Reagent)        NarcoPouch #909        10/box

- NIK

Test E (Duquenois Levine)        10/box

- SIRCHIE (do not regularly stock but can order and will be shipped directly from Sirchie)

Lynn Peavey Co; http://www.lynnpeavey.com/  1-800-255-6499

- QuickCheck Pouch types

Marijuana DL QuickCheck Pouch (10/box) order number 10120

Marijuana KN QuickCheck Pouch (10/box) order number 10121

- NIK

Test E (Duquenois Levine) 	10/box

- ODV

Duquenois Levine                     NacroPouch #908        10/box            	order number 06908

Fast Blue B (KN Reagent)        NarcoPouch #909        10/box             	order number 06909

Crime Scene Supply, Inc 	ATTN: Bob Kopec	706-896-9742

2346 Hidden Valley Rd

Hiawassee, GA 30546

- Duquenois Levine		Part Number 1020

- Fast Blue B			Part Number 1013